## COVID-19 Ventilation Overview
Scenario Overview
The COVID-19 Ventilation Scenario simulates a patient that has contracted COVID-19, causing severe ARDS symptoms and clinical signs. This scenario highlights the ability of the Pulse physiology engine to simulate a mechanical ventilator in a PC-CMV mode and varying the settings to meet the need of the patient. We are able to mimic large advancement of time in this scenario (i.e., days) through the exacerbation actions that deteriorate or improve chronic conditions. Note: Clinical characteristics, finding, treatments, and timelines are largely taken from reference Bhatraju, et al. @cite bhatraju2020covid.
Base Physiology | Insults and injuries | Assessments | Interventions
A 32 year old male patient with no preexisting or coexisting medical conditions. | ARDS Right Mainstem Intubation | Heart Rate Blood Pressure Respiration Rate Tidal Volume Pulmonary Compliance Oxygen Saturation PaO2/FiO2 Shunt Fraction | Nasal Cannula Intubation Neuromuscular Blockade Sedation Vasopressors PC-CMV Mechanical Ventilation Supplemental Oxygen
Scenario Narrative
Segment 0 | A patient is admitted to the intensive care unit (ICU) with laboratory-confirmed infection with moderate acute respiratory syndrome coronavirus-2 (SARS-CoV-2). Radiographs show bilateral pulmonary opacities. The caregiver assesses the patient and decides to treat the mild hypoxemia with supplemental oxygen via a nasal cannula. The hypotension is treated with a vasopressor. |  |  | To-Do: Add vasopressor administration to scenario
Segment 1 | The next day, the patient's state has deteriorate to severe ARDS symptoms. The hypoxemic respiratory failure now requires mechanical ventilation. A sedative and neuromuscular blockade is given in preparation for invasive mechanical ventilation. The patient is incorrectly intubated (right mainstem) and connected to the ventilator in Pressure Control Continuous Mandatory Ventilation (PC-CMV) mode. |  |  | To-Do: Add sedative administration to scenario
Segment 2 | The caregiver realizes there is a right mainstem intubation and corrects to esophageal intubation. The ventilator settings are adjusted for proper recruitment (PEEP), and to achieve the desired tidal volume (PIP) and oxygen saturation (FiO2). The patient is stabilized.
Segment 3 | Several days later, the patient is improving and now has moderate ARDS symptoms. The caregiver adjusts the ventilator settings and keeps the patient stabilized.
Segment 4 | Several days later, the patient is improving and now has mild ARDS symptoms. The caregiver adjusts the ventilator settings in preparation to ween the patient off of the ventilator and to prepare for extubation.
References
Publications: |  |  |  | To-Do: Add ARDS valdiation
@cite bhatraju2020covid
@cite gattinoni2020covid
SMEs:
Key
Good Agreement with data/trends
Agreement with most trends, some deviations from validation data/trends
Some major disagreements with validation data/trends

## COVID-19 Ventilation Breakdown
Segment Number | Start Time (s) | Segment Duration (s) | Event (to begin segment) | Notes | HeartRate (BPM) | Engine HeartRate (BPM) | MeanArterialPressure (mmHg) | Engine MeanArterialPressure (mmHg) | RespirationRate (Breaths/min) | Engine RespirationRate (Breaths/min) | OxygenSaturation (fraction) | Engine OxygenSaturation (fraction) | TidalVolume (mL) | Engine TidalVolume (mL) | Total Pulmonary Compliance (mL/cmH2O) | Total Pulmonary Compliance (mL/cmH2O) | PaO2/FiO2 (mmHg) | PaO2/FiO2 (mmHg) | Shunt Fraction | Shunt Fraction
| 0 |  | End Scenario