## Slide 1
Preprocess
CalculateCyclePhase
CalculateSourceStatus
SetConnection
CalculateValveResistances
CalculateEquipmentLeak
CalculateVentilator
CalculateGasSource
CheckReliefValve
Process
Combined Circuit Solved by Respiratory
CalculateScrubber
PostProcess
Combined Circuit Time Advanced by Respiratory

## Slide 2
Inspiration Phase
Constant ventilator pressure applied
Inhalation valve opened
Exhalation valve closed
Inspiration To Expiration Transition Phase
Transition when inspiration time is achieved (via I:E Ratio)
Expiration Phase
Set ventilator pressure to positive end expired pressure (PEEP)
Inhalation valve closed
Exhalation valve opened
Expiration To Inspiration Transition Phase
Transition when total cycle time is achieved (via Respiratory Rate Setting)

## Slide 3
Ventilator
Inspiratory
Limb
Gas
Inlet
Expiratory
Limb
Y-Piece
Scrubber
Relief
Valve
Selector
Connection
Gas
Source
Inhalation
Check Valve
Exhalation
Check Valve
Exhaust