## Slide 2
Time
Pressure
[3d] Baseline
[2d] Target /
[2e] Limit
[2a] Cycle
[2c] Period
[3a] Trigger
[2b] Waveform
[2] Inspiration Phase
[3] Expiration Phase
[3b] Waveform
Example Pressure Source Driver
[3a] Trigger

## Slide 3
or
[1]
[5]
[6a]
[6b]
[6c]
[6d]
[7a]
[7b]
[7c]
[7d]
[7e]
[7f]
[8]
[9]

## Slide 4
Dräger
Ventilator
ASL 5000™
Virtual Lung
RespiSim® Controller/Display
Dräger
Control/Display

## Slide 5
Trigger Achieved? [3a]
Cycle Achieved? [2a]
Pause Period Reached? [2f]
Transition to Inspiration [2]
Transition to Expiration [3]
Hold Driver (Constant)
Apply Waveform to Driver (Function) [2b]
Apply Target to Driver (Constant) [2d]
Limit Reached? [2e]
Apply Limit to Driver (Constant) [2e]
Apply Waveform to Driver (Function) [3b]
Apply Baseline to Driver (Constant) [3d]
Step Time
Step Time
Step Time
No
Yes
Yes
Yes
Yes
Yes
No
No
No
No
No
Waveform Period Reached? [2c]
Waveform Period Reached? [3c]
Yes

## Slide 6
No Breathing Simulator Image